**SPECIFICATIONS**

* Installation of <model name> bidet.
* Bidet installation as per Department of Fair-Trading directives and AS/NZS 3500.1.2003 Plumbing and Drainage and to the Hunter Water Standard – Site Containment Backflow Prevention 2020. Client to review Hunter Water Standard – Site Containment Backflow Prevention Policy and the implications to the client of not following these standards.
* Power point to be installed as per AS.